## Hyprop and Ksat
order | Label ID | Ring ID | Ring weight (g) | Saturated soil + ring (excess soil removed from top and bottom) weight (g) | Hyprop adaptor # | Hyprop adaptor weight (g) | Ring + adaptor weight (g) | starting wieght (g) of ring + adaptor + saturated soil | WP4C tray number | Tray Tare wieght (g) | Moist soil + tray (g) | Dry soil +tray (g) | WP4C pressure (Mpa) | Temp (c) | WP4C gravimetric water content (g/g) | WP4C tray number | Tray Tare wieght (g) | Moist soil + tray (g) | Dry soil +tray (g) | WP4C pressure (Mpa) | Temp (c) | WP4C gravimetric water content (g/g) | WP4C tray number | Tray Tare wieght (g) | Moist soil + tray (g) | Dry soil +tray (g) | WP4C pressure (Mpa) | Temp (c) | WP4C gravimetric water content (g/g) | Ave gravimetric water content post hyprop run (g/g) | total OD soil from wp4c (g) | Post hyprop run moist soil out of ring (minus wp4c) weight (g) | post hyprop soil dry corrected and wp4c soil added (g) | bulk density (g/cm3) | Notes:
1 | DLG_F4_BD_B-3 | 1305 | 93.3 | 255.13 | 1 | 197.78 | 291.08 | 452.91 | 14 | 23.5371 | 26.5872 | 26.4506 | -43.38 | 24.9 | 0.046885 | 16 | 24.5371 | 28.6588 | 28.2756 | -2.93 | 24.9 | 0.1025 | 17 | 23.4926 | 26.7485 | 26.4576 | -4.7 | 24.9 | 0.098111 | 0.082499 | 9.617 | 114.76 | 114.9094 | 1.1607
2 | DLG_R2_BD_B-1 | 1481 | 93.4 | 254.56 | 2 | 196.3 | 289.7 | 450.86 | 3 | 24.4961 | 27.8255 | 27.6047 | -26.45 | 24.9 | 0.071029 | 26 | 24.7138 | 30.1736 | 29.4007 | -3.42 | 24.9 | 0.16491 | 30 | 24.795 | 29.2235 | 28.5956 | -3.28 | 24.9 | 0.16521 | 0.13372 | 11.5961 | 117.29 | 113.2026 | 1.1435
3 | DLG_F1_BD_A-2 | 1396 | 93.8 | 222.61 | 3 | 194.82 | 288.62 | 417.43 | 7 | 24.7071 | 26.6077 | 26.404 | -31.89 | 24.8 | 0.12004 | 8 | 24.7253 | 28.2935 | 27.4701 | -1.55 | 24.9 | 0.29999 | 9 | 24.5374 | 29.1099 | 28.0437 | -0.97 | 24.8 | 0.30408 | 0.24137 | 7.948 | 85.53 | 72.8337 | 0.73569 | top was hydrophobic
4 | DLG_F1_BD_A-3 | 1299 | 93.7 | 229.29 | 4 | 195.66 | 289.36 | 424.95 | 20 | 22.6846 | 24.1452 | 23.9739 | -29.73 | 24.9 | 0.13286 | 21 | 24.2227 | 26.8471 | 26.2449 | -1.82 | 24.9 | 0.29779 | 22 | 24.5735 | 28.3648 | 27.5271 | -1.22 | 24.8 | 0.28362 | 0.23809 | 6.2651 | 90.28 | 75.0501 | 0.75808
5 | DLG_F3_BD_A-1 | 596 | 96.41 | 229.78 | 5 | 193.86 | 290.27 | 423.64 | 10 | 24.6027 | 27.252 | 26.9827 | -18.37 | 24.9 | 0.11315 | 11 | 24.6877 | 26.2727 | 26.0517 | -5.43 | 24.8 | 0.16202 | 12 | 24.5672 | 26.5119 | 26.254 | -6.09 | 24.8 | 0.15289 | 0.14269 | 5.4308 | 88.64 | 81.4228 | 0.82245
6 | DLG_F2_BD_A-2 | 1205 | 94.2 | 234.14 | 6 | 198.45 | 292.65 | 432.59 | 24 | 24.6296 | 27.1217 | 26.6994 | -7.14 | 24.9 | 0.20403 | 28 | 24.5559 | 27.346 | 26.5885 | -0.46 | 24.9 | 0.37268 | 29 | 24.739 | 27.9536 | 27.0927 | -0.27 | 24.9 | 0.36576 | 0.31416 | 6.4561 | 95.33 | 71.8376 | 0.72563
7 | DLG_F3_BD_B-1 | 1354 | 95.5 | 269.25 | 5 | 193.86 | 289.36 | 463.11 | 24 | 24.6279 | 27.6024 | 27.2796 | -5.64 | 24.9 | 0.12173 | 26 | 24.9 | 28.5951 | 27.9743 | -1.21 | 24.9 | 0.20193 | 28 | 24.5558 | 28.3029 | 27.6852 | -1.06 | 24.9 | 0.19739 | 0.17368 | 8.8554 | 136.06 | 121.284 | 1.2251
8 | DLG_F1_BD_B-2 | 1320 | 94.9 | 243.07 | 4 | 195.66 | 290.56 | 438.73 | 29 | 24.7392 | 28.9908 | 28.5052 | -3.38 | 24.9 | 0.12894 | 30 | 24.7593 | 30.1172 | 29.1414 | -3.38 | 24.9 | 0.22268 | 3 | 24.4958 | 29.6471 | 28.6181 | -2.15 | 24.9 | 0.24962 | 0.20041 | 12.2704 | 100.95 | 92.9887 | 0.93928
9 | DLG_F3_BD_A-3 | 1266 | 94.9 | 235.67 | 6 | 198.45 | 293.35 | 434.12 | 14 | 23.537 | 26.1436 | 25.718 | -5.76 | 24.9 | 0.19514 | 16 | 24.8749 | 28.0196 | 27.209 | -1.09 | 24.8 | 0.34729 | 17 | 23.4931 | 26.1726 | 25.4784 | -1 | 24.8 | 0.34967 | 0.29737 | 6.5004 | 96.17 | 74.0728 | 0.74821
10 | DLG_F3_BD_B-2 | 1482 | 93.2 | 260.03 | 3 | 194.82 | 288.02 | 454.85 | 1 | 24.3742 | 28.2419 | 27.8841 | -8.44 | 25 | 0.10194 | 2 | 24.4257 | 28.9309 | 28.4634 | -4.48 | 25 | 0.11578 | 21 | 24.2231 | 29.2964 | 28.6916 | -2.88 | 24.9 | 0.13535 | 0.11769 | 12.0161 | 118.57 | 116.6315 | 1.1781
11 | DLG_R1_BD_B-1 | 1188 | 94.3 | 259.85 | 1 | 197.78 | 292.08 | 457.63 | 10 | 24.6026 | 27.9404 | 27.0403 | -20.58 | 24.8 | 0.36924 | 11 | 24.6876 | 27.6632 | 27.3901 | -2.64 | 24.9 | 0.10105 | 12 | 24.567 | 27.6632 | 27.1349 | -2.64 | 24.9 | 0.20573 | 0.22534 | 7.7081 | 117.26 | 98.5444 | 0.9954
12 | DLG_F2_BD_A-3 | 1201 | 93.5 | 229.38 | 2 | 196.3 | 289.8 | 425.68 | 20 | 22.685 | 23.661 | 23.4741 | -7.21 | 25 | 0.23685 |  |  |  | 3 |  |  |  | 22 | 24.2231 | 27.0682 | 26.4442 | -0.66 | 24.9 | 0.28094 | 0.2589 | 6.0102 | 91.79 | 74.036 | 0.74784
13 | DLG_F2_BD_A1 | 1174 | 93.9 | 229.8 | 6 | 198.45 | 292.35 | 428.25 | 12 | 24.5678 | 27.7305 | 27.0566 | -2.67 | 24.9 | 0.27077 | 13 | 23.4977 | 25.985 | 25.4784 | -4.67 | 24.9 | 0.25577 | 15 | 23.408 | 24.9487 | 24.7961 | -36.21 | 25 | 0.10993 | 0.21216 | 5.8576 | 82.13 | 70.563 | 0.71276
14 | DLG_R1_BD_B-2 | 1347 | 95.3 | 272.98 | 1 | 197.78 | 293.08 | 470.76 | 7 | 24.707 | 28.0548 | 27.7568 | -18.76 | 24.9 | 0.097711 | 8 | 24.7251 | 28.4762 | 27.9481 | -5.6 | 24.9 | 0.16385 | 9 | 24.5376 | 28.5369 | 27.7573 | -5.1 | 24.9 | 0.24213 | 0.1679 | 9.4925 | 125.23 | 113.6964 | 1.1484
15 | DLG_R1_BD_A-3 | 1316 | 95.5 | 235.81 | 4 | 195.66 | 291.16 | 431.47 | 26 | 24.7143 | 27.8029 | 27.1928 | -4.3 | 24.9 | 0.24616 | 28 | 24.5563 | 26.7249 | 26.346 | -6.48 | 24.9 | 0.21171 | 30 | 24.7599 | 26.4219 | 26.2925 | -68.38 | 24.9 | 0.084432 | 0.18077 | 5.8008 | 85.9 | 76.1729 | 0.76942
16 | DLG_F4_BD_A-1 | 1483 | 93.3 | 228.1 | 2 | 196.3 | 289.6 | 424.4 | 17 | 23.4929 | 25.4605 | 25.0981 | -1.14 | 24.9 | 0.22577 | 20 | 22.6851 | 25.9082 | 25.3435 | -1.28 | 24.9 | 0.21242 | 22 | 24.5738 | 26.3807 | 26.3007 | -57.31 | 24.9 | 0.046326 | 0.1615 | 5.9905 | 85.95 | 78.0592 | 0.78848
17 | DLG_F4_BD_B-1 | 0.000607 | 96.96 | 263.43 | 5 | 193.86 | 290.82 | 457.29 | 23 | 25.017 | 27.6992 | 27.5063 | -9.37 | 24.9 | 0.077492 | 24 | 24.6281 | 28.5437 | 28.2628 | -9.59 | 24.9 | 0.077283 | 25 | 25.0241 | 28.3835 | 28.2604 | -46.53 | 24.9 | 0.038037 | 0.064271 | 9.3603 | 117.03 | 118.8687 | 1.2007
18 | DLG_F2_BD_B-2 | 1286 | 94.5 | 273.64 | 3 | 194.82 | 289.32 | 468.46 | 3 | 24.4963 | 28.6881 | 27.9957 | -2.39 | 24.9 | 0.19786 | 10 | 24.6029 | 30.0899 | 29.2434 | -4.04 | 24.9 | 0.18242 | 11 | 24.5678 | 27.7305 | 27.9642 | -2.67 | 24.9 | -0.068808 | 0.19014 | 11.5363 | 135.39 | 121.1834 | 1.2241
19 | DLG_F4_BD_B-2 | 1494 | 94.2 | 265.92 | 1 | 197.78 | 291.98 | 463.7 | 17 | 23.4933 | 25.2486 | 25.692 | -3.65 | 24.9 | -0.20166 | 25 | 25.0239 | 27.4793 | 27.297 | -4.68 | 24.9 | 0.080199 | 10 | 24.6045 | 27.373 | 27.2836 | -60.02 | 24.9 | 0.033369 | 0.056784 | 7.1509 | 115.39 | 115.9886 | 1.1716
20 | DLG_F2_BD_B-3 | 1319 | 93.8 | 255.88 | 6 | 198.45 | 292.25 | 454.33 | 11 | 24.6885 | 28.489 | 27.8368 | -3.68 | 24.9 | 0.20716 | 30 | 24.7596 | 28.0511 | 27.4333 | -1.82 | 24.9 | 0.23107 | 3 | 24.4976 | 28.727 | 27.8125 | -0.55 | 24.9 | 0.27588 | 0.23803 | 9.1369 | 114.53 | 96.4049 | 0.97379
21 | DLG_F1_BD_B-1 | 1483 | 94.2 | 259.92 | 4 | 195.66 | 289.86 | 455.58 | 12 | 24.568 | 27.0649 | 27.1968 | -14.76 | 24.8 | -0.050175 | 13 | 23.4978 | 26.7372 | 26.3775 | -8.12 | 24.9 | 0.12491 | 22 | 24.5748 | 29.0839 | 28.3433 | -2.39 | 24.9 | 0.19652 | 0.16072 | 9.277 | 122.51 | 112.0976 | 1.1323 | I put the wrong ring weight in the HYPROP software change it in soil view analysis
22 | DLG_F1_BD_B-3 | 1290 | 93.5 | 264.48 | 5 | 193.86 | 287.36 | 458.34 | 17 | 23.4929 | 27.5126 | 26.917 | -4 | 249.9 | 0.17394 | 22 | 24.2231 | 29.7765 | 29.1504 | -8.17 | 24.9 | 0.12707 | 25 | 25.0241 | 29.6264 | 28.9689 | -4.25 | 24.9 | 0.16668 | 0.1559 | 12.2962 | 119.2 | 112.9134 | 1.1405
23 | DLG_R2_BD_A-3 | 1194 | 93.7 | 236.12 | 3 | 194.82 | 288.52 | 430.94 | 3 | 24.4968 | 28.2484 | 27.6636 | -6.64 | 24.9 | 0.18467 | 10 | 24.6032 | 28.6303 | 27.7351 | -1.2 | 24.9 | 0.28583 | 11 | 24.6877 | 28.347 | 27.5433 | -1.25 | 24.9 | 0.28145 | 0.25065 | 9.1543 | 97.61 | 82.2985 | 0.8313
24 | DLG_R2_BD_B-2 | 603 | 96.34 | 256.1 | 2 | 196.3 | 292.64 | 452.4 | 1 | 24.3743 | 28.7193 | 28.1618 | -6.18 | 24.9 | 0.14719 | 21 | 24.2232 | 29.112 | 28.2161 | -1.26 | 25 | 0.22437 | 28 | 24.5564 | 29.42 | 28.4133 | -0.34 | 24.9 | 0.26101 | 0.21086 | 11.6373 | 114.11 | 101.686 | 1.0271
25 | DLG_F1_BD_A-1 | 631 | 98.6 | 253.67 | 1 | 197.78 | 296.38 | 451.45 | 2 | 24.4251 | 28.1222 | 27.3324 | -1.85 | 24.8 | 0.27166 | 3 | 24.497 | 29.5824 | 28.4315 | -0.44 | 24.9 | 0.29251 | 22 | 24.5741 | 29.909 | 28.624 | 0.8 | 24.9 | 0.31729 | 0.29382 | 10.8917 | 112 | 89.9836 | 0.90892
26 | DLG_F2_BD_B-1 | 1182 | 93.8 | 265.52 | 4 | 195.66 | 289.46 | 461.18 | 17 | 23.4959 | 28.4366 | 27.8458 | -10.58 | 24.8 | 0.13582 | 25 | 25.0255 | 30.0255 | 29.2925 | -3.96 | 24.9 | 0.17178 | 30 | 22.6852 | 28.4468 | 27.5272 | -3.07 | 24.8 | 0.18992 | 0.16584 | 13.4589 | 127.79 | 120.056 | 1.2127
27 | DLG_F3_BD_A-2 | 1326 | 93.3 | 240.87 | 3 | 194.82 | 288.12 | 435.69 | 7 | 24.707 | 29.4974 | 28.8618 | -3.73 | 24.9 | 0.15298 | 8 | 24.7252 | 28.4116 | 28.0098 | -8.87 | 24.9 | 0.12233 | 9 | 24.5374 | 26.4751 | 26.3442 | -83.07 | 24.9 | 0.072449 | 0.11592 | 9.2462 | 81.97 | 81.7143 | 0.8254
28 | DLG_F4_BD_A-3 | 1291 | 93.3 | 234.48 | 2 | 196.3 | 289.6 | 430.78 | 13 | 23.4973 | 28.0116 | 27.7558 | -160.62 | 24.9 | 0.060068 | 14 | 23.5361 | 27.1043 | 26.7387 | -6.12 | 24.9 | 0.11416 | 17 | 23.4951 | 25.9586 | 26.5768 | -3.98 | 24.9 | -0.2006 | 0.087113 | 10.5428 | 82.65 | 85.9929 | 0.86862
29 | DLG_R2_BD_A-2 | 1217 | 95.3 | 240.53 | 5 | 193.86 | 289.16 | 434.39 | 20 | 22.6861 | 26.6368 | 26.525 | -169.65 | 24.9 | 0.029123 | 24 | 24.6293 | 28.3581 | 28.2121 | -151.19 | 24.9 | 0.04075 | 29 | 24.7427 | 28.1337 | 27.9716 | -109.28 | 24.9 | 0.050203 | 0.040025 | 10.6506 | 80.06 | 87.5062 | 0.8839
30 | DLG_R1_BD_B-3 | 626 | 98.44 | 243.98 | 6 | 198.45 | 296.89 | 442.43 | 1 | 24.3748 | 29.2969 | 28.6599 | -12.18 | 24.9 | 0.14865 | 24 | 24.6279 | 30.8908 | 29.7505 | -2.74 | 24.9 | 0.2226 | 29 | 24.7399 | 29.9865 | 28.9284 | -0.78 | 24.9 | 0.25262 | 0.20796 | 13.5962 | 82.05 | 78.5832 | 0.79377
31 | DLG_R2_BD_B-3 | 1381 | 92.8 | 247.93 | 1 | 197.78 | 290.58 | 445.71 | 3 | 24.4974 | 29.3858 | 28.918 | -11.29 | 24.9 | 0.10582 | 17 | 23.4947 | 28.255 | 27.338 | -0.25 | 24.9 | 0.2386 | 20 | 22.6868 | 27.287 | 26.4116 | 0.1 | 24.9 | 0.23502 | 0.19315 | 11.9887 | 109.23 | 100.1213 | 1.0113
32 | DLG_F4_BD_A-2 | 1323 | 96 | 185.67 | 4 | 195.66 | 291.66 | 381.33 | 7 | 24.7071 | 26.991 | 26.8731 | -86.03 | 24.9 | 0.054432 | 8 | 24.7262 | 28.3283 | 28.0223 | -12.5 | 24.9 | 0.092837 | 13 | 23.4975 | 27.1952 | 26.7368 | -2.89 | 24.9 | 0.14151 | 0.09626 | 8.7014 | 80.17 | 81.1542 | 0.81974
33 | DLG_R1_BD_A-2 | 1495 | 95.1 | 245.49 | 3 | 194.82 | 289.92 | 440.31 | 7 | 24.7082 | 27.0143 | 26.7537 | -33.05 | 24.9 | 0.1274 | 8 | 24.7275 | 28.519 | 27.7842 | -3.4 | 24.9 | 0.24039 | 9 | 24.5385 | 28.5386 | 27.823 | -4.46 | 24.9 | 0.21787 | 0.19522 | 8.3867 | 88.65 | 79.7303 | 0.80536
34 | DLG_F3_BD_B-3 | 1418 | 94 | 283.31 | 5 | 193.86 | 287.86 | 477.17 | 17 | 23.4948 | 27.4512 | 27.2759 | -60.27 | 24.9 | 0.046362 | 24 | 24.6296 | 29.8047 | 29.3675 | -10.1 | 24.9 | 0.092277 | 29 | 24.7411 | 29.6341 | 29.101 | -3.69 | 24.9 | 0.12227 | 0.086971 | 12.8789 | 144.9 | 145.1768 | 1.4664
35 | DLG_R2_BD_A-1 | 12019 | 205.1 | 586.42 | 7 | 0 | 205.1 | 586.42 | 12 | 24.5673 | 27.7281 | 27.5011 | -55.04 | 24.9 | 0.077374 | 13 | 23.498 | 27.8018 | 27.1619 | -4.95 | 24.9 | 0.17465 | 14 | 23.5377 | 28.8082 | 28.0321 | -4.15 | 24.9 | 0.17268 | 0.14157 | 11.0921 | 255.23 | 230.1896 | 0.92076
36 | DLG_R1_BD_A-1 | 6651 | 195 | 534.94 | 8 | 0 | 195 | 534.94 | 15 | 23.4082 | 24.5422 | 24.4006 | -93.97 | 24.8 | 0.14268 | 16 | 24.8749 | 27.9112 | 27.4963 | -13.29 | 24.8 | 0.15827 | 17 | 23.4962 | 26.8067 | 26.4023 | -11.36 | 25 | 0.13916 | 0.1467 | 6.5199 | 205.88 | 182.1963 | 0.72879
| DLG_F3_BD_A1_C | 1354 | 95.5 | 241.08 | 3 | 194.69 | 290.19 | 435.77 | 10 | 24.6033 | 27.8762 | 27.1615 | -0.73 | 24.9 | 0.27938 | 16 | 24.8752 | 27.1515 | 26.7511 | -2.67 | 24.9 | 0.21344 | 8 | 24.725 | 27.1865 | 26.7611 | -2.98 | 24.9 | 0.20893 | 0.23392 | 15.3502 | 98.55 | 90.8477 | 0.36339
| DLG_R1_BD_A3_B | 1316 | 95.5 | 239.01 | 5 | 193.35 | 288.85 | 432.36 | 13 | 23.4983 | 26.0074 | 25.5932 | -5.15 | 24.9 | 0.19772 | 22 | 24.5752 | 27.9158 | 27.3367 | -4.36 | 24.9 | 0.2097 | 27 | 24.6021 | 27.7503 | 27.1169 | -2.21 | 24.9 | 0.25187 | 0.21976 | 16.7212 | 78.15 | 77.6966 | 0.31079
Note on T13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: estimate

## Linear extensibility
order | Label ID | Caliper MEASUREMENT 1 (cm) | Caliper MEASUREMENT 2 (cm) | Caliper MEASUREMENT 3 (cm) | Caliper MEASUREMENT Ave (cm) | Kopeky ring height (cm) | Length wet - length dry (cm) | Tin tare for excess soil top and bottom from kopekey rings post saturation(g) | Excess Soil post saturation (top bottom) wet plus tin (g) | Excess Soil post saturation(top bottom) oven dry plus tin (g) | water in soil (g) | dry mass soil (g) | Dry mass from soil from 1st BD measurement (g) | 1st (wet) bulk density (g/cm3) | 2nd (dry) bulk density (g/cm3) | COLE from length (cm/cm) | COLE from density (cm/cm) | COLE = Coefficent of Linear Extensibility
1 | DLG_F4_BD_B-3 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 0 | 2.1 | 2.1 | 2.1 | 0 | 0 | 114.9094 | 1.1607 | 1.1607 | 0 | 0
2 | DLG_R2_BD_B-1 | 5.7 | 5.5 | 5.7 | 5.6333 | 5.1 | 0.53333 | 2.07 | 12.01 | 9.03 | 2.98 | 6.96 | 113.2026 | 1.1435 | 1.2138 | 0.094675 | 0.050655
3 | DLG_F1_BD_A-2 | 5.7 | 5.7 | 5.5 | 5.6333 | 5.1 | 0.53333 | 2.13 | 14.38 | 9.3 | 5.08 | 7.17 | 72.8337 | 0.73569 | 0.80812 | 0.094675 | 0.12182
4 | DLG_F1_BD_A-3 | 6 | 5.35 | 5.6 | 5.65 | 5.1 | 0.55 | 2.1 | 14.64 | 8.1 | 6.54 | 6 | 75.0501 | 0.75808 | 0.81869 | 0.097345 | 0.097652
5 | DLG_F3_BD_A-1 | 5.3 | 5.4 | 5.4 | 5.3667 | 5.1 | 0.26667 | 2.11 | 13.21 | 7.04 | 6.17 | 4.93 | 81.4228 | 0.82245 | 0.87225 | 0.049689 | 0.069416
6 | DLG_F2_BD_A-2 | 5.6 | 5.5 | 5.6 | 5.5667 | 5.1 | 0.46667 | 2.14 | 13.28 | 6.84 | 6.44 | 4.7 | 71.8376 | 0.72563 | 0.77311 | 0.083832 | 0.084627
7 | DLG_F3_BD_B-1 | 5.5 | 5.4 | 5.4 | 5.4333 | 5.1 | 0.33333 | 1.27 | 8.26 | 5.8887 | 2.3713 | 4.6187 | 121.284 | 1.2251 | 1.2717 | 0.06135 | 0.029944
8 | DLG_F1_BD_B-2 | 5.7 | 5.5 | 5.7 | 5.6333 | 5.1 | 0.53333 | 1.28 | 6.84 | 4.7239 | 2.1161 | 3.4439 | 92.9887 | 0.93928 | 0.97407 | 0.094675 | 0.038022
9 | DLG_F3_BD_A-3 | 5.6 | 5.45 | 5.3 | 5.45 | 5.1 | 0.35 | 2.1 | 5.36 | 4.0068 | 1.3532 | 1.9068 | 74.0728 | 0.74821 | 0.76747 | 0.06422 | 0.033542
10 | DLG_F3_BD_B-2 | 5.4 | 5.1 | 5.1 | 5.2 | 5.1 | 0.1 | 1.2996 | 5.2154 | 3.8615 | 1.3539 | 2.5619 | 116.6315 | 1.1781 | 1.204 | 0.019231 | 0.018244
11 | DLG_R1_BD_B-1 | 5.5 | 5.45 | 5.4 | 5.45 | 5.1 | 0.35 | 2.12 | 11.31 | 8.0654 | 3.2446 | 5.9454 | 98.5444 | 0.9954 | 1.0555 | 0.06422 | 0.057162
12 | DLG_F2_BD_A-3 | 5.6 | 5.55 | 5.5 | 5.55 | 5.1 | 0.45 | 2.08 | 16.57 | 9.4077 | 7.1623 | 7.3277 | 74.036 | 0.74784 | 0.82186 | 0.081081 | 0.12043
13 | DLG_F2_BD_A1 | 5.5 | 5.4 | 5.5 | 5.4667 | 5.1 | 0.36667 | 1.29 | 6.01 | 3.9527 | 2.0573 | 2.6627 | 70.563 | 0.71276 | 0.73965 | 0.067073 | 0.051017
14 | DLG_R1_BD_B-2 | 5.6 | 5.4 | 5.4 | 5.4667 | 5.1 | 0.36667 | 1.27 | 7.13 | 4.8828 | 2.2472 | 3.6128 | 113.6964 | 1.1484 | 1.1849 | 0.067073 | 0.026816
15 | DLG_R1_BD_A-3 | 5.35 | 5.4 | 5.4 | 5.3833 | 5.1 | 0.28333 | 1.27 | 3.03 | 2.272 | 0.758 | 1.002 | 76.1729 | 0.76942 | 0.77954 | 0.052632 | 0.016874
16 | DLG_F4_BD_A-1 | 5.6 | 5.5 | 5.5 | 5.5333 | 5.1 | 0.43333 | 1.27 | 5.007 | 3.2429 | 1.7641 | 1.9729 | 78.0592 | 0.78848 | 0.80841 | 0.078313 | 0.031265
17 | DLG_F4_BD_B-1 | 5.1 | 5.15 | 5.2 | 5.15 | 5.1 | 0.05 | 1.3 | 1.74 | 1.5536 | 0.1864 | 0.2536 | 118.8687 | 1.2007 | 1.2033 | 0.0097087 | 0.0017731
18 | DLG_F2_BD_B-2 | 5.55 | 5.5 | 5.4 | 5.4833 | 5.1 | 0.38333 | 1.28 | 7.52 | 5.1558 | 2.3642 | 3.8758 | 121.1834 | 1.2241 | 1.2632 | 0.069909 | 0.025319
19 | DLG_F4_BD_B-2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.1 | 0.1 | 1.3 | 1.95 | 1.7383 | 0.2117 | 0.4383 | 115.9886 | 1.1716 | 1.176 | 0.019231 | 0.0032132
20 | DLG_F2_BD_B-3 | 5.3 | 5.25 | 5.5 | 5.35 | 5.1 | 0.25 | 1.29 | 9.97 | 4.2008 | 5.7692 | 2.9108 | 96.4049 | 0.97379 | 1.0032 | 0.046729 | 0.030097
21 | DLG_F1_BD_B-1 | 5.5 | 5.45 | 5.5 | 5.4833 | 5.1 | 0.38333 | 1.29 | 2.78 | 2.2242 | 0.5558 | 0.9342 | 112.0976 | 1.1323 | 1.1417 | 0.069909 | 0.0072992
22 | DLG_F1_BD_B-3 | 5.3 | 5.3 | 5.3 | 5.3 | 5.1 | 0.2 | 1.28 | 4.03 | 3.2049 | 0.8251 | 1.9249 | 112.9134 | 1.1405 | 1.16 | 0.037736 | 0.014696
23 | DLG_R2_BD_A-3 | 5.5 | 5.1 | 5.3 | 5.3 | 5.1 | 0.2 | 1.28 | 2.17 | 1.7825 | 0.3875 | 0.5025 | 82.2985 | 0.8313 | 0.83637 | 0.037736 | 0.0073004
24 | DLG_R2_BD_B-2 | 5.3 | 5.1 | 5.1 | 5.1667 | 5.1 | 0.066667 | 1.27 | 1.63 | 1.4943 | 0.1357 | 0.2243 | 101.686 | 1.0271 | 1.0294 | 0.012903 | 0.0021428
25 | DLG_F1_BD_A-1 | 5.5 | 5.4 | 5.4 | 5.4333 | 5.1 | 0.33333 | 1.28 | 3.39 | 2.2051 | 1.1849 | 0.9251 | 89.9836 | 0.90892 | 0.91827 | 0.06135 | 0.011196
26 | DLG_F2_BD_B-1 | 5.6 | 5.3 | 5.5 | 5.4667 | 5.1 | 0.36667 | 1.28 | 7.18 | 5.2515 | 1.9285 | 3.9715 | 120.056 | 1.2127 | 1.2528 | 0.067073 | 0.026405
27 | DLG_F3_BD_A-2 | 5.6 | 5.5 | 5.3 | 5.4667 | 5.1 | 0.36667 | 1.28 | 6.17 | 3.4419 | 2.7281 | 2.1619 | 81.7143 | 0.8254 | 0.84723 | 0.067073 | 0.031227
28 | DLG_F4_BD_A-3 | 5.1 | 5.4 | 5.3 | 5.2667 | 5.1 | 0.16667 | 1.28 | 4.58 | 3.2031 | 1.3769 | 1.9231 | 85.9929 | 0.86862 | 0.88804 | 0.031646 | 0.025183
29 | DLG_R2_BD_A-2 | 5.8 | 5.8 | 5.6 | 5.7333 | 5.1 | 0.63333 | 1.3 | 7.77 | 5.0281 | 2.7419 | 3.7281 | 87.5062 | 0.8839 | 0.92156 | 0.11047 | 0.04623
30 | DLG_R1_BD_B-3 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 0 | 0 | 0 | 0 | 0 | 0 | 78.5832 | 0.79377 | 0.79377 | 0 | 0
31 | DLG_R2_BD_B-3 | 5.5 | 5.4 | 5.3 | 5.4 | 5.1 | 0.3 | 1.27 | 3.03 | 2.37 | 0.66 | 1.1 | 100.1213 | 1.0113 | 1.0224 | 0.055556 | 0.010746
32 | DLG_F4_BD_A-2 | 5.4 | 5.1 | 5.1 | 5.2 | 5.1 | 0.1 | 1.29 | 2.73 | 2.0858 | 0.6442 | 0.7958 | 81.1542 | 0.81974 | 0.82778 | 0.019231 | 0.011846
33 | DLG_R1_BD_A-2 | 5.4 | 5.5 | 5.6 | 5.5 | 5.1 | 0.4 | 1.27 | 4.13 | 2.6693 | 1.4607 | 1.3993 | 79.7303 | 0.80536 | 0.81949 | 0.072727 | 0.021416
34 | DLG_F3_BD_B-3 | 5.5 | 5.3 | 5.5 | 5.4333 | 5.1 | 0.33333 | 1.28 | 4.33 | 3.2518 | 1.0782 | 1.9718 | 145.1768 | 1.4664 | 1.4863 | 0.06135 | 0.0091379
35 | DLG_R2_BD_A-1 | 5.5 | 5.6 | 5.6 | 5.5667 | 5.1 | 0.46667 | 1.7 | 13.24 | 7.4773 | 5.7627 | 5.7773 | 230.1896 | 0.92076 | 0.94387 | 0.083832 | 0.026591
36 | DLG_R1_BD_A-1 | 5.4 | 5.3 | 5.3 | 5.3333 | 5.1 | 0.23333 | 1.64 | 3.54 | 2.4731 | 1.0669 | 0.8331 | 182.1963 | 0.72879 | 0.73212 | 0.04375 | 0.0062456